|  |  |
| --- | --- |
| Title | Cobra |
| Product Category: | Air Conditioning |
| Description: | COBRA is a alkaline solvent, to remove grease, oil and water deposits from evaporator/condensor coils and fins. |
| Technical Data: | |  |  | | --- | --- | | **Base Units:** | Litres | | **Form:** | Clear Liquid | | **Colour:** | Blue | | **Odour:** | Faint |  |  |  | | --- | --- | | **Solubility in water:** | Soluble | | **Specific Gravity (20 °C):** | 1.17 | | **Relative Vapour Density (air=1):** | >1 | | **pH:** | 13+ | |
| Signal Word: | Danger |
| Hazard Pictograms: |  |
| Personal Protective Equipment: | SAFETY SHOES, OVERALLS, GLOVES, SAFETY GLASSES, RESPIRATOR |
|  |  |
| Directions for use: | Hold container 6-8 inches from surface to be cleaned. Direct spray between fins allowing product to penetrate inner surfaces. Allow to stand 5-15 minutes, longer if excessive soil is present, until foam reaction has ceased. HEAVY DUTY CLEANING: Neat MEDIUM DUTY CLEANING: 3:1 LIGHT DUTY CLEANING: 5:1 |
| Item # / Pack Size: | |  |  |  | | --- | --- | --- | | **Synonyms** | **Product Code** | **Bar Code** | | Cobra 200L |  | 16-04-0960-200 | | Cobra 20L |  | 16-02-0960-20 | | Cobra 5L |  | 16-04-0960-5 | |
| Supplier: | |  |  | | --- | --- | | **Name** | Minehan Agencies Pty Ltd | | **Company number** | 21 010 895 100 | | **Street Address** | 29 Camuglia Street, Garbutt, Townsville, QLD 4814 Australia | | **Telephone** | 07 4774 4626 | | **Fax** | 07 4774 4616 | | **Email** | inquiry@minehanagencies.com.au | | **Website URL** | www.minehanagencies.com.au | |
|  |  |