|  |  |
| --- | --- |
| Title | Cobra |
| Product Category: | Air Conditioning |
| Description: | COBRA is a alkaline solvent, to remove grease, oil and water deposits from evaporator/condensor coils and fins.  |
| Technical Data: |

|  |  |
| --- | --- |
| **Base Units:** | Litres |
| **Form:** | Clear Liquid |
| **Colour:** | Blue |
| **Odour:** | Faint |

|  |  |
| --- | --- |
| **Solubility in water:** | Soluble |
| **Specific Gravity (20 °C):** | 1.17 |
| **Relative Vapour Density (air=1):** | >1 |
| **pH:** | 13+ |

 |
| Signal Word: | Danger |
| Hazard Pictograms: |   |
| Personal Protective Equipment: | SAFETY SHOES, OVERALLS, GLOVES, SAFETY GLASSES, RESPIRATOR |
|  |  |
| Directions for use: | Hold container 6-8 inches from surface tobe cleaned. Direct spray between fins allowing product topenetrate inner surfaces. Allow to stand 5-15 minutes,longer if excessive soil is present, until foam reaction hasceased.HEAVY DUTY CLEANING: NeatMEDIUM DUTY CLEANING: 3:1LIGHT DUTY CLEANING: 5:1 |
| Item # / Pack Size: |

|  |  |  |
| --- | --- | --- |
| **Synonyms** | **Product Code** | **Bar Code** |
| Cobra 200L |  | 16-04-0960-200 |
| Cobra 20L |  | 16-02-0960-20 |
| Cobra 5L |  | 16-04-0960-5 |

 |
| Supplier: |

|  |  |
| --- | --- |
| **Name** | Minehan Agencies Pty Ltd |
| **Company number** | 21 010 895 100 |
| **Street Address** | 29 Camuglia Street, Garbutt,Townsville, QLD 4814Australia |
| **Telephone** | 07 4774 4626 |
| **Fax** | 07 4774 4616 |
| **Email** | inquiry@minehanagencies.com.au |
| **Website URL** | www.minehanagencies.com.au |

 |
|  |  |